{"text_format":"1","workbook":"xlsx","n_sheets":5,"sheets":["電力計算","配列","ベクトル図","ベクトル座標","電力計の読み"],"not_rendered":{"charts":1,"images":5,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"電力計算","index":0,"n_rows":151,"n_cols":36,"rows_kept":151,"cut":false,"hidden":false,"merged":[[20,22,20,24],[22,0,24,0],[11,0,13,0],[20,2,20,4],[20,6,20,8],[20,10,20,12],[20,14,20,16],[20,18,20,20],[5,22,5,24],[9,2,9,4],[9,6,9,8],[9,10,9,12],[9,14,9,16],[9,18,9,20],[9,22,9,24],[5,18,5,20],[5,0,7,0],[5,2,5,4],[5,6,5,8],[5,10,5,12],[5,14,5,16]]}
[]
[null,"三相電力計算"]
[]
[null,"三相平衡電圧",null,"V"]
[]
["三相電力","三相平衡負荷","負荷三相平衡電力 (0)",null,null,null,"負荷三相平衡電力 (1)",null,null,null,"負荷三相平衡電力 (2)",null,null,null,"負荷三相平衡電力 (3)",null,null,null,"負荷三相平衡電力 (4)",null,null,null,"負荷三相平衡電力 (5)"]
[null,null,"電力(0)",null,"力率(0)",null,"電力(1)",null,"力率(1)",null,"電力(2)",null,"力率(2)",null,"電力(3)",null,"力率(3)",null,"電力(4)",null,"力率(4)",null,"電力(5)",null,"力率(5)",null,null,null,null,null,0,0,0,0,0,0]
[null,"三相平衡負荷（△結線）",null,"kW",null,null,null,"kW",null,null,null,"kW",null,null,null,"kW",null,null,null,"kW",null,null,null,"kW"]
[]
[null,"単相負荷（△結線）","負荷単相電力 (0)",null,null,null,"負荷単相電力 (1)",null,null,null,"負荷単相電力 (2)",null,null,null,"負荷単相電力 (3)",null,null,null,"負荷単相電力 (4)",null,null,null,"負荷単相電力 (5)"]
[null,null,"電力(0)",null,"力率(0)",null,"電力(1)",null,"力率(1)",null,"電力(2)",null,"力率(2)",null,"電力(3)",null,"力率(3)",null,"電力(4)",null,"力率(4)",null,"電力(5)",null,"力率(5)"]
["単相電力","単相負荷｜UV 相間",null,"kW",null,null,null,"kW",null,null,null,"kW",null,null,null,"kW",null,null,null,"kW",null,null,null,"kW"]
[null,"単相負荷｜VW 相間",null,"kW",null,null,null,"kW",null,null,null,"kW",null,null,null,"kW",null,null,null,"kW",null,null,null,"kW"]
[null,"単相負荷｜WU 相間",null,"kW",null,null,null,"kW",null,null,null,"kW",null,null,null,"kW",null,null,null,"kW",null,null,null,"kW"]
[]
[null,"単相負荷（△結線）","有効分",null,"無効分",null,"電圧（有効分）",null,"電圧（無効分）"]
[null,"U-V 相間インピーダンス",null,"Ω",null,"Ω",null,"V",null,"V"]
[null,"V-W 相間インピーダンス",null,"Ω",null,"Ω",null,"V",null,"V"]
[null,"W-U 相間インピーダンス",null,"Ω",null,"Ω",null,"V",null,"V"]
[]
[null,"単相負荷（△結線）","負荷インピーダンス (0)",null,null,null,"負荷インピーダンス (1)",null,null,null,"負荷インピーダンス (2)",null,null,null,"負荷インピーダンス (3)",null,null,null,"負荷インピーダンス (4)",null,null,null,"負荷インピーダンス (5)"]
[null,null,"有効分(0)",null,"無効分(0)",null,"有効分(1)",null,"無効分(1)",null,"有効分(2)",null,"無効分(2)",null,"有効分(3)",null,"無効分(3)",null,"有効分(4)",null,"無効分(4)",null,"有効分(5)",null,"無効分(5)"]
["単相負荷","単相△負荷｜UV 相間",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω"]
[null,"単相△負荷｜VW 相間",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω"]
[null,"単相△負荷｜WU 相間",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω",null,"Ω"]
[]
[null,"自動計算結果","有効電力",null,"力率"]
[null,"三相電力",null,"kW","※"]
[]
[null,null,"有効分",null,"無効分",null,"絶対値",null,"偏角"]
[null,"線電流｜ U 相",null,"A",null,"A",null,"A"]
[null,"線電流｜ V 相",null,"A",null,"A",null,"A"]
[null,"線電流｜ W 相",null,"A",null,"A",null,"A"]
[null,"相電流｜UV 相",null,"A",null,"A",null,"A"]
[null,"相電流｜VW 相",null,"A",null,"A",null,"A"]
[null,"相電流｜WU 相",null,"A",null,"A",null,"A"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,77]
[null,78]
[null,79]
[null,80]
[null,81]
[null,82]
[null,83]
[null,84]
[null,85]
[null,86]
[null,87]
[null,88]
[null,89]
[null,90]
[null,91]
[null,92]
[null,93]
[null,94]
[null,95]
[null,96]
[null,97]
[null,98]
[null,99]
[null,100]
[null,101]
[null,102]
[null,103]
[null,104]
[null,105]
[null,106]
[null,107]
[null,108]
[null,109]
[null,110]
[null,111]
[null,112]
[null,113]
[null,114]
[null,115]
[null,116]
[null,117]
[null,118]
[null,119]
[null,120]

{"sheet":"配列","index":1,"n_rows":50,"n_cols":36,"rows_kept":50,"cut":false,"hidden":false,"merged":[[0,3,0,14]]}
[null,null,null,"変数：j"]
[null,null,null,"列 0","列 1","列 2","列 3","列 4","列 5","列 6","列 7","列 8","列 9","列 10","列 11"]
[null,"三相 平衡 Z （有効分、力率角）","行 00",4,30.002910931188033,0,90,0,90,0,90,0,90,0,90]
[null,"三相 平衡 Z ","行 01",4,2.3096720464857756,0,0,0,0,0,0,0,0,0,0]
[null,"三相 平衡 Y 　","行 02",0.25,0.43296190102899035,0,0,0,0,0,0,0,0,0,0]
[null,"単相電力｜UV 相間 Z （有効分、力率角）","行 03",40,30.002910931188033,0,90,0,90,0,90,0,90,0,90]
[null,"単相電力｜VW 相間 Z （有効分、力率角）","行 04",20,45.000549466525577,0,90,0,90,0,90,0,90,0,90,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0,0,0,0,0,0]
[null,"単相電力｜WU 相間 Z （有効分、力率角）","行 05",13.333333333333334,59.999999999999993,0,90,0,90,0,90,0,90,0,90]
[null,"Zuv（単相電力）","行 06",40,23.096720464857757,0,0,0,0,0,0,0,0,0,0]
[null,"Zvw（単相電力）","行 07",20,20.000383603678799,0,0,0,0,0,0,0,0,0,0]
[null,"Zwu（単相電力）","行 08",13.333333333333334,23.094010767585026,0,0,0,0,0,0,0,0,0,0]
[null,"Yuv（単相電力）","行 09",2.5000000000000001E-2,4.3296190102899035E-2,0,0,0,0,0,0,0,0,0,0]
[null,"Yvw（単相電力）","行 10",0.05,4.9999041009196624E-2,0,0,0,0,0,0,0,0,0,0]
[null,"Ywu（単相電力）","行 11",7.4999999999999997E-2,4.330127018922194E-2,0,0,0,0,0,0,0,0,0,0]
[null,"Yuv（平衡＋単相）","行 12",0.27500000000000002,0.47625809113188938,0,0,0,0,0,0,0,0,0,0]
[null,"Yvw（平衡＋単相）","行 13",0.3,0.48296094203818696,0,0,0,0,0,0,0,0,0,0]
[null,"Ywu（平衡＋単相）","行 14",0.32500000000000001,0.47626317121821227,0,0,0,0,0,0,0,0,0,0]
[null,"Yuv（負荷系）　","行 15",0.2,0,0,0,0,0,0,0,0,0,0,0]
[null,"Yvw（負荷系）　","行 16",0.2,0,0,0,0,0,0,0,0,0,0,0]
[null,"Ywu（負荷系）　","行 17",0.2,0,0,0,0,0,0,0,0,0,0,0]
[null,"Yuv（電力系）横集計","行 18",0.27500000000000002,0.47625809113188938,0,0,0,0,0,0,0,0,0,0]
[null,"Yvw（電力系）横集計","行 19",0.3,0.48296094203818696,0,0,0,0,0,0,0,0,0,0]
[null,"Ywu（電力系）横集計","行 20",0.32500000000000001,0.47626317121821227,0,0,0,0,0,0,0,0,0,0]
[null,"Zuv（電力系）横集計","行 21",3.6363636363636362,2.0997018604416144,0,0,0,0,0,0,0,0,0,0]
[null,"Zvw（電力系）横集計","行 22",3.3333333333333335,2.0705608113563181,0,0,0,0,0,0,0,0,0,0]
[null,"Zwu（電力系）横集計","行 23",3.0769230769230766,2.0996794638605896,0,0,0,0,0,0,0,0,0,0]
[null,"Yuv（負荷系）横集計","行 24",0.2,0,0,0,0,0,0,0,0,0,0,0]
[null,"Yvw（負荷系）横集計","行 25",0.2,0,0,0,0,0,0,0,0,0,0,0]
[null,"Ywu（負荷系）横集計","行 26",0.2,0,0,0,0,0,0,0,0,0,0,0]
[null,"Yuv 計算テーブルの総合計","行 27",0.47500000000000003,0.47625809113188938,0,0,0,0,0,0,0,0,0,0]
[null,"Yvw 計算テーブルの総合計","行 28",0.5,0.48296094203818696,0,0,0,0,0,0,0,0,0,0]
[null,"Ywu 計算テーブルの総合計","行 29",0.52500000000000002,0.47626317121821227,0,0,0,0,0,0,0,0,0,0]
[null,"Zuv 計算テーブルの総合計","行 30",2.1052631578947367,2.0997018604416144,0,0,0,0,0,0,0,0,0,0]
[null,"Zvw 計算テーブルの総合計","行 31",2,2.0705608113563181]
[null,"Zwu 計算テーブルの総合計","行 32",1.9047619047619047,2.0996794638605896]
[null,"Euv ベクトル計算用","行 33",200,0]
[null,"Evw ベクトル計算用","行 34",-100,-173.20599999999999]
[null,"Ewu ベクトル計算用","行 35",-100,173.20599999999999]
[null,"Iuv 相電流","行 36"]
[null,"Ivw 相電流","行 37"]
[null,"Iwu 相電流","行 38"]
[null,"Iu 線電流","行 39"]
[null,"Iv 線電流","行 40"]
[null,"Iw 線電流","行 41"]
[null,"三相電力 Euv×Iu","行 42"]
[null,"三相電力 Evw×Iv","行 43"]
[null,"Euv,Iu 位相角｜Evw,Iv 位相角","行 44"]
[null,null,"行 45"]
[null,null,"行 46"]
[null,null,"行 47"]

{"sheet":"ベクトル図","index":2,"n_rows":9,"n_cols":20,"rows_kept":9,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,"赤：線電流(実効値)"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"有効分",null,"無効分",null,"絶対値"]
[null,null,"青：相電圧(実効値)",null,null,null,null,null,null,null,null,null,null,"線電流｜ U 相",61.348267073333801,"A",230.15071243019656,"A",238.1868180757032,"A"]
[null,null,"緑：相電流(実効値)",null,null,null,null,null,null,null,null,null,null,"線電流｜ V 相",168.64337176068787,"A",-178.20592708199746,"A",245.35268347007695,"A"]
[null,null,"赤：線電流(実効値)",null,null,null,null,null,null,null,null,null,null,"線電流｜ W 相",-229.99163883402167,"A",-51.944785348199098,"A",235.78467859135705,"A"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"相電流｜UV 相",95,"A",95.251618226377872,"A",134.52832703465705,"A"]
[null,null,"電圧：1 目盛り 100V",null,null,null,null,null,null,null,null,null,null,"相電流｜VW 相",33.651732926666199,"A",-134.89909420381869,"A",139.03310665441674,"A"]
[null,null,"電流：1 目盛り 50A",null,null,null,null,null,null,null,null,null,null,"相電流｜WU 相",-134.99163883402167,"A",43.306832878178774,"A",141.76820634060888,"A"]

{"sheet":"ベクトル座標","index":3,"n_rows":23,"n_cols":12,"rows_kept":23,"cut":false,"hidden":false,"merged":[[0,2,0,5]]}
[null,null,"配列"]
["項目","線の色","X：始点","X：終点","Y：始点","Y：終点",null,null,"X：始点","X：終点","Y：始点","Y：終点"]
["Euv",null,"座標 (0,0)","座標 (0,1)","座標 (0,2)","座標 (0,3)",null,"Euv",0,200,0,0]
["Evw","0,128,255","座標 (1,0)","座標 (1,1)","座標 (1,2)","座標 (1,3)",null,"Evw",0,-100,0,-173.20599999999999]
["Ewu","0,128,255","座標 (2,0)","座標 (2,1)","座標 (2,2)","座標 (2,3)",null,"Ewu",0,-100,0,173.20599999999999]
["Iuv",null,"座標 (3,0)","座標 (3,1)","座標 (3,2)","座標 (3,3)",null,"Iuv",0,95,0,95.251618226377872]
["Ivw",null,"座標 (4,0)","座標 (4,1)","座標 (4,2)","座標 (4,3)",null,"Ivw",0,33.651732926666199,0,-134.89909420381869]
["Iwu",null,"座標 (5,0)","座標 (5,1)","座標 (5,2)","座標 (5,3)",null,"Iwu",0,-134.99163883402167,0,43.306832878178774]
["Iu",null,"座標 (6,0)","座標 (6,1)","座標 (6,2)","座標 (6,3)",null,"Iu",0,61.348267073333801,0,230.15071243019656]
["Iv",null,"座標 (7,0)","座標 (7,1)","座標 (7,2)","座標 (7,3)",null,"Iv",0,168.64337176068787,0,-178.20592708199746]
["Iw",null,"座標 (8,0)","座標 (8,1)","座標 (8,2)","座標 (8,3)",null,"Iw",0,-229.99163883402167,0,-51.944785348199098]
[null,null,"座標 (9,0)","座標 (9,1)","座標 (9,2)","座標 (9,3)"]
[null,null,"座標(10,0)","座標(10,1)","座標(10,2)","座標(10,3)"]
[null,null,"座標(11,0)","座標(11,1)","座標(11,2)","座標(11,3)"]
[null,null,"座標(12,0)","座標(12,1)","座標(12,2)","座標(12,3)"]
[null,null,"座標(13,0)","座標(13,1)","座標(13,2)","座標(13,3)"]
[null,null,"座標(14,0)","座標(14,1)","座標(14,2)","座標(14,3)"]
[null,null,"座標(15,0)","座標(15,1)","座標(15,2)","座標(15,3)"]
[null,null,"座標(16,0)","座標(16,1)","座標(16,2)","座標(16,3)"]
[null,null,"座標(17,0)","座標(17,1)","座標(17,2)","座標(17,3)"]
[null,null,"座標(18,0)","座標(18,1)","座標(18,2)","座標(18,3)"]
[null,null,"座標(19,0)","座標(19,1)","座標(19,2)","座標(19,3)"]
[null,null,"座標(20,0)","座標(20,1)","座標(20,2)","座標(20,3)"]

{"sheet":"電力計の読み","index":4,"n_rows":183,"n_cols":5,"rows_kept":183,"cut":false,"hidden":false,"merged":[[0,0,1,0],[0,1,0,3]]}
["位相角","電力計の読み"]
[null,"P1","P2","P3","合計電力"]
[0,-8.6602540378443859E-4,4.3301270189221967E-4,null,0]
[2,-8.6391580942710427E-4,4.8427526002164592E-4,null,0]
[4,-8.5759730408675467E-4,5.3317847776342684E-4,null,0]
[6,-8.4710067088627399E-4,5.7948410355645628E-4,null,0]
[8,-8.3247704836749683E-4,6.2296654104649826E-4,null,0]
[10,-8.1379768134937373E-4,6.634139481689384E-4,null,0]
[12,-7.9115357383037325E-4,7.0062926922203684E-4,null,0]
[14,-7.6465504562615036E-4,7.3443119490249336E-4,null,0]
[16,-7.3443119490249325E-4,7.6465504562615036E-4,null,0]
[18,-7.0062926922203673E-4,7.9115357383037336E-4,null,0]
[20,-6.634139481689384E-4,8.1379768134937384E-4,null,0]
[22,-6.2296654104649783E-4,8.3247704836749694E-4,null,0]
[24,-5.7948410355645639E-4,8.4710067088627399E-4,null,0]
[26,-5.3317847776342641E-4,8.5759730408675467E-4,null,0]
[28,-4.8427526002164614E-4,8.6391580942710427E-4,null,0]
[30,-4.330127018922194E-4,8.6602540378443859E-4,null,0]
[32,-3.7964054940545824E-4,8.6391580942710427E-4,null,0]
[34,-3.2441882632332838E-4,8.5759730408675456E-4,null,0]
[36,-2.6761656732981749E-4,8.4710067088627388E-4,null,0]
[38,-2.0951050732099898E-4,8.3247704836749673E-4,null,0]
[40,-1.5038373318043536E-4,8.1379768134937352E-4,null,0]
[42,-9.0524304608336441E-5,7.9115357383037304E-4,null,0]
[44,-3.0223850723657181E-5,7.6465504562614993E-4,null,0]
[46,3.0223850723657073E-5,7.3443119490249325E-4,null,0]
[48,9.0524304608336333E-5,7.0062926922203662E-4,null,0]
[50,1.5038373318043525E-4,6.6341394816893829E-4,null,0]
[52,2.095105073209989E-4,6.2296654104649761E-4,null,0]
[54,2.6761656732981738E-4,5.7948410355645617E-4,null,0]
[56,3.2441882632332827E-4,5.3317847776342597E-4,null,0]
[58,3.7964054940545829E-4,4.842752600216457E-4,null,0]
[60,4.3301270189221913E-4,4.3301270189221946E-4,null,0]
[62,4.8427526002164603E-4,3.7964054940545759E-4,null,0]
[64,5.3317847776342641E-4,3.2441882632332827E-4,null,0]
[66,5.7948410355645639E-4,2.6761656732981662E-4,null,0]
[68,6.2296654104649761E-4,2.095105073209989E-4,null,0]
[70,6.6341394816893829E-4,1.5038373318043504E-4,null,0]
[72,7.0062926922203662E-4,9.0524304608336143E-5,null,0]
[74,7.3443119490249325E-4,3.022385072365669E-5,null,0]
[76,7.6465504562615036E-4,-3.0223850723657564E-5,null,0]
[78,7.9115357383037314E-4,-9.0524304608336251E-5,null,0]
[80,8.1379768134937362E-4,-1.5038373318043591E-4,null,0]
[82,8.3247704836749683E-4,-2.0951050732099898E-4,null,0]
[84,8.4710067088627399E-4,-2.676165673298182E-4,null,0]
[86,8.5759730408675456E-4,-3.2441882632332838E-4,null,0]
[88,8.6391580942710427E-4,-3.7964054940545835E-4,null,0]
[90,8.6602540378443859E-4,-4.3301270189221956E-4,null,0]
[92,8.6391580942710427E-4,-4.8427526002164646E-4,null,0]
[94,8.5759730408675456E-4,-5.3317847776342673E-4,null,0]
[96,8.4710067088627399E-4,-5.7948410355645628E-4,null,0]
[98,8.3247704836749683E-4,-6.2296654104649816E-4,null,0]
[100,8.1379768134937373E-4,-6.634139481689384E-4,null,0]
[102,7.9115357383037325E-4,-7.0062926922203727E-4,null,0]
[104,7.6465504562615036E-4,-7.3443119490249336E-4,null,0]
[106,7.3443119490249336E-4,-7.6465504562615036E-4,null,0]
[108,7.0062926922203684E-4,-7.9115357383037325E-4,null,0]
[110,6.634139481689384E-4,-8.1379768134937384E-4,null,0]
[112,6.2296654104649772E-4,-8.3247704836749694E-4,null,0]
[114,5.7948410355645661E-4,-8.4710067088627388E-4,null,0]
[116,5.3317847776342619E-4,-8.5759730408675467E-4,null,0]
[118,4.8427526002164646E-4,-8.6391580942710427E-4,null,0]
[120,4.3301270189221967E-4,-8.6602540378443859E-4,null,0]
[122,3.7964054940545846E-4,-8.6391580942710427E-4,null,0]
[124,3.2441882632332848E-4,-8.5759730408675456E-4,null,0]
[126,2.6761656732981754E-4,-8.4710067088627388E-4,null,0]
[128,2.0951050732099911E-4,-8.3247704836749683E-4,null,0]
[130,1.5038373318043528E-4,-8.1379768134937352E-4,null,0]
[132,9.052430460833636E-5,-7.9115357383037304E-4,null,0]
[134,3.0223850723656907E-5,-7.6465504562615004E-4,null,0]
[136,-3.0223850723656585E-5,-7.3443119490249336E-4,null,0]
[138,-9.0524304608336035E-5,-7.0062926922203673E-4,null,0]
[140,-1.5038373318043496E-4,-6.634139481689384E-4,null,0]
[142,-2.0951050732099879E-4,-6.2296654104649761E-4,null,0]
[144,-2.6761656732981727E-4,-5.7948410355645628E-4,null,0]
[146,-3.2441882632332821E-4,-5.3317847776342608E-4,null,0]
[148,-3.7964054940545818E-4,-4.8427526002164576E-4,null,0]
[150,-4.330127018922194E-4,-4.3301270189221886E-4,null,0]
[152,-4.842752600216463E-4,-3.7964054940545764E-4,null,0]
[154,-5.3317847776342597E-4,-3.2441882632332838E-4,null,0]
[156,-5.7948410355645606E-4,-2.6761656732981749E-4,null,0]
[158,-6.2296654104649751E-4,-2.0951050732099898E-4,null,0]
[160,-6.6341394816893818E-4,-1.5038373318043517E-4,null,0]
[162,-7.0062926922203662E-4,-9.0524304608336251E-5,null,0]
[164,-7.3443119490249325E-4,-3.0223850723656798E-5,null,0]
[166,-7.6465504562615025E-4,3.0223850723657456E-5,null,0]
[168,-7.9115357383037325E-4,9.0524304608336902E-5,null,0]
[170,-8.1379768134937373E-4,1.5038373318043582E-4,null,0]
[172,-8.3247704836749673E-4,2.095105073209989E-4,null,0]
[174,-8.4710067088627388E-4,2.6761656732981738E-4,null,0]
[176,-8.5759730408675456E-4,3.2441882632332827E-4,null,0]
[178,-8.6391580942710427E-4,3.7964054940545829E-4,null,0]
[180,-8.6602540378443859E-4,4.3301270189221946E-4,null,0]
[182,-8.6391580942710437E-4,4.8427526002164641E-4,null,0]
[184,-8.5759730408675467E-4,5.3317847776342662E-4,null,0]
[186,-8.4710067088627388E-4,5.7948410355645671E-4,null,0]
[188,-8.3247704836749683E-4,6.2296654104649816E-4,null,0]
[190,-8.1379768134937395E-4,6.6341394816893829E-4,null,0]
[192,-7.9115357383037336E-4,7.0062926922203662E-4,null,0]
[194,-7.6465504562615047E-4,7.3443119490249325E-4,null,0]
[196,-7.3443119490249347E-4,7.6465504562615036E-4,null,0]
[198,-7.0062926922203684E-4,7.9115357383037325E-4,null,0]
[200,-6.634139481689384E-4,8.1379768134937373E-4,null,0]
[202,-6.2296654104649783E-4,8.3247704836749694E-4,null,0]
[204,-5.7948410355645639E-4,8.4710067088627399E-4,null,0]
[206,-5.331784777634263E-4,8.5759730408675467E-4,null,0]
[208,-4.8427526002164657E-4,8.6391580942710427E-4,null,0]
[210,-4.3301270189221978E-4,8.6602540378443859E-4,null,0]
[212,-3.7964054940545856E-4,8.6391580942710427E-4,null,0]
[214,-3.2441882632332859E-4,8.5759730408675456E-4,null,0]
[216,-2.6761656732981771E-4,8.4710067088627388E-4,null,0]
[218,-2.0951050732099922E-4,8.3247704836749683E-4,null,0]
[220,-1.5038373318043539E-4,8.1379768134937362E-4,null,0]
[222,-9.0524304608336455E-5,7.9115357383037314E-4,null,0]
[224,-3.0223850723657005E-5,7.6465504562615004E-4,null,0]
[226,3.022385072365648E-5,7.3443119490249336E-4,null,0]
[228,9.052430460833594E-5,7.0062926922203684E-4,null,0]
[230,1.5038373318043485E-4,6.634139481689384E-4,null,0]
[232,2.0951050732099944E-4,6.2296654104649729E-4,null,0]
[234,2.6761656732981717E-4,5.7948410355645628E-4,null,0]
[236,3.2441882632332735E-4,5.3317847776342684E-4,null,0]
[238,3.7964054940545808E-4,4.8427526002164592E-4,null,0]
[240,4.3301270189221864E-4,4.3301270189221967E-4,null,0]
[242,4.8427526002164619E-4,3.7964054940545775E-4,null,0]
[244,5.3317847776342597E-4,3.2441882632332848E-4,null,0]
[246,5.7948410355645661E-4,2.6761656732981679E-4,null,0]
[248,6.229665410464974E-4,2.0951050732099911E-4,null,0]
[250,6.6341394816893861E-4,1.503837331804345E-4,null,0]
[252,7.0062926922203662E-4,9.052430460833636E-5,null,0]
[254,7.3443119490249271E-4,3.0223850723657676E-5,null,0]
[256,7.6465504562615025E-4,-3.0223850723657357E-5,null,0]
[258,7.9115357383037293E-4,-9.0524304608336035E-5,null,0]
[260,8.1379768134937373E-4,-1.5038373318043572E-4,null,0]
[262,8.3247704836749673E-4,-2.0951050732099879E-4,null,0]
[264,8.4710067088627399E-4,-2.6761656732981798E-4,null,0]
[266,8.5759730408675456E-4,-3.2441882632332821E-4,null,0]
[268,8.6391580942710437E-4,-3.7964054940545889E-4,null,0]
[270,8.6602540378443859E-4,-4.330127018922194E-4,null,0]
[272,8.6391580942710437E-4,-4.8427526002164559E-4,null,0]
[274,8.5759730408675467E-4,-5.3317847776342662E-4,null,0]
[276,8.4710067088627399E-4,-5.7948410355645606E-4,null,0]
[278,8.3247704836749683E-4,-6.2296654104649816E-4,null,0]
[280,8.1379768134937395E-4,-6.6341394816893818E-4,null,0]
[282,7.9115357383037314E-4,-7.0062926922203706E-4,null,0]
[284,7.6465504562615047E-4,-7.3443119490249325E-4,null,0]
[286,7.3443119490249303E-4,-7.6465504562615058E-4,null,0]
[288,7.0062926922203695E-4,-7.9115357383037325E-4,null,0]
[290,6.6341394816893905E-4,-8.1379768134937341E-4,null,0]
[292,6.2296654104649794E-4,-8.3247704836749683E-4,null,0]
[294,5.7948410355645693E-4,-8.4710067088627388E-4,null,0]
[296,5.3317847776342641E-4,-8.5759730408675467E-4,null,0]
[298,4.8427526002164668E-4,-8.6391580942710427E-4,null,0]
[300,4.3301270189221913E-4,-8.6602540378443859E-4,null,0]
[302,3.7964054940545867E-4,-8.6391580942710437E-4,null,0]
[304,3.2441882632332789E-4,-8.5759730408675456E-4,null,0]
[306,2.6761656732981782E-4,-8.4710067088627388E-4,null,0]
[308,2.0951050732100003E-4,-8.3247704836749705E-4,null,0]
[310,1.503837331804355E-4,-8.1379768134937362E-4,null,0]
[312,9.0524304608337336E-5,-7.9115357383037336E-4,null,0]
[314,3.0223850723657117E-5,-7.6465504562615015E-4,null,0]
[316,-3.0223850723656375E-5,-7.3443119490249347E-4,null,0]
[318,-9.052430460833659E-5,-7.006292692220364E-4,null,0]
[320,-1.5038373318043474E-4,-6.634139481689384E-4,null,0]
[322,-2.0951050732099933E-4,-6.2296654104649729E-4,null,0]
[324,-2.6761656732981711E-4,-5.7948410355645639E-4,null,0]
[326,-3.2441882632332724E-4,-5.3317847776342684E-4,null,0]
[328,-3.7964054940545797E-4,-4.8427526002164603E-4,null,0]
[330,-4.3301270189221853E-4,-4.3301270189221978E-4,null,0]
[332,-4.8427526002164614E-4,-3.7964054940545786E-4,null,0]
[334,-5.3317847776342586E-4,-3.2441882632332859E-4,null,0]
[336,-5.794841035564565E-4,-2.6761656732981695E-4,null,0]
[338,-6.229665410464974E-4,-2.0951050732099922E-4,null,0]
[340,-6.634139481689385E-4,-1.5038373318043463E-4,null,0]
[342,-7.0062926922203651E-4,-9.0524304608336455E-5,null,0]
[344,-7.344311949024926E-4,-3.0223850723657777E-5,null,0]
[346,-7.6465504562615015E-4,3.0223850723657249E-5,null,0]
[348,-7.9115357383037282E-4,9.052430460833594E-5,null,0]
[350,-8.1379768134937362E-4,1.5038373318043637E-4,null,0]
[352,-8.3247704836749673E-4,2.0951050732099944E-4,null,0]
[354,-8.4710067088627399E-4,2.6761656732981717E-4,null,0]
[356,-8.5759730408675456E-4,3.2441882632332735E-4,null,0]
[358,-8.6391580942710437E-4,3.7964054940545943E-4,null,0]
[360,-8.6602540378443859E-4,4.3301270189221994E-4,null,0]